## MODELS
# | ALIAS | LG/C1 (NAME) | LG/C2 (CODE) | LG/C14 (FAMILY) | LG/C15 (ORDER) | BT/C1 (NAME) | BT/C2 (CODE) | BT/C14 (FAMILY) | BT/C15 (ORDER) | IME/C1 (NAME) | IME/C2 (CODE) | IME/C14 (FAMILY) | IME/C15 (ORDER) | C3 | C4 | C5 | C6 | C7 | C8 | C9 | C10 | C11 | C12 | C13 | PULSE | OPTIONS
0 |  | Modular - 0 046 76 | 004676 | EMDX³ Multif.Meas.Units | 4 | Modular - F3N200 | F3N200 | BTDIN Multif.Meas.Units | 4 |  |  |  |  | C3: vif:1234; C4: power; C5: thd; C7: energypar+; C9: maxbase
1 |  | Access - 0 146 68 | 014668 | EMDX³ Multif.Meas.Units | 5 | Standard - F3N300 | F3N300 | BTDIN Multif.Meas.Units | 5 | MF6HT40003 | MF6HT40003 | Nemo D4-L+ | 14 | C3: vif:1234; C4: power; C5: thd; C7: energypar+; C9: maxbase
2 |  | Premium - 0 146 69 | 014669 | EMDX³ Multif.Meas.Units | 6 | Evolution - F3N400 | F3N400 | BTDIN Multif.Meas.Units | 6 |  |  |  |  | vif:1234 | power | thd | thdstat | energypar+ | energypar- | maxbase | maxext | avgext | harmonic
3 | [5 empty] | Top - F3N500 | F3N500 | BTDIN Multif.Meas.Units | 7
4 |  | 0 046 77 | 004677 | EMDX³ RS485 Counters | 9 |  |  |  |  | CE20195A4 | CE20195A4 | Conto D2 | 60 | C3: vif:134; C4: power:14; C7: energypar+
5 |  | 0 046 79 | 004679 | EMDX³ RS485 Counters | 10 | F21DM63 | F21DM63 | BTDIN RS485 Counters | 8 | CE2DMID11 | CE2DMID11 | Conto D2 MID | 63 | C3: vif:134; C4: power:14; C7: energypar+
6 |  | 0 046 80 | 004680 | EMDX³ RS485 Counters | 11 |  |  |  |  | CE4DT06A4 | CE4DT06A4 | Conto D4-Pd | 69 | C3: vif:1234; C4: power; C7: energypar+; C9: maxbase; C11: avgext
7 |  | 0 046 83 | 004683 | EMDX³ RS485 Counters | 12 | F41DM63 | F41DM63 | BTDIN RS485 Counters | 9 | CE4DMID31 | CE4DMID31 | Conto D4-Pd MID | 74 | C3: vif:1234; C4: power; C7: energypar+; C9: maxbase; C11: avgext
8 |  | 0 046 84 | 004684 | EMDX³ RS485 Counters | 13 |  |  |  |  | CE4DT14A4 | CE4DT14A4 | Conto D4-Pt | 81 | C3: vif:1234; C4: power; C7: energypar+; C9: maxbase; C11: avgext
9 |  | 0 046 86 | 004686 | EMDX³ RS485 Counters | 14 | F41TMA | F41TMA | BTDIN RS485 Counters | 10 | CE4DMID01 | CE4DMID01 | Conto D4-Pt MID | 85 | C3: vif:1234; C4: power; C7: energypar+; C9: maxbase; C11: avgext
10 |  | 0 046 70 | 004670 | EMDX³ Pulse Counters | 17 | F20D32 | F20D32 | BTDIN Pulse Counters | 15 | MF6HTU0003 | MF6HTU0003 | Nemo D4-L+ | 11 | C7: energypar+ | Y
11 |  | 0 046 72 | 004672 | EMDX³ Pulse Counters | 18 |  |  |  |  | CE20195A2 | CE20195A2 | Conto D2 | 59 | C7: energypar+ | Y
12 |  | 0 046 73 | 004673 | EMDX³ Pulse Counters | 19 |  |  |  |  | CE4DT06A2 | CE4DT06A2 | Conto D4-Pd | 67 | C7: energypar+ | Y
13 |  | 0 046 74 | 004674 | EMDX³ Pulse Counters | 20 |  |  |  |  | CE4DT14A2 | CE4DT14A2 | Conto D4-Pt | 78 | C7: energypar+ | Y
14 |  | 0 046 78 | 004678 | EMDX³ Pulse Counters | 21 | F20DM63 | F20DM63 | BTDIN Pulse Counters | 16 | CE2DMID12 | CE2DMID12 | Conto D2 MID | 64 | C7: energypar+ | Y
15 |  | 0 046 81 | 004681 | EMDX³ Pulse Counters | 22 | [8 empty] | C7: energypar+ | Y
16 |  | 0 046 82 | 004682 | EMDX³ Pulse Counters | 23 | F40DM63 | F40DM63 | BTDIN Pulse Counters | 17 | CE4DMID32 | CE4DMID32 | Conto D4-Pd MID | 73 | C7: energypar+ | Y
17 |  | 0 046 85 | 004685 | EMDX³ Pulse Counters | 24 | [8 empty] | C7: energypar+ | Y
18 |  | 0 261 35 | 026135 | Other Devices | 81 | M7TIC/CM | M7TIC/CM | Other Devices | 57 | MF6FT40026 | MF6FT40026 | Nemo D4-L | 10 | C3: vif:1234; C4: power; C7: energypar+; C9: maxbase; C11: avgext
19 | [5 empty] | F3N3000 | F3N3000 | Other Devices | 58 |  |  |  |  | C3: vif:1234; C4: power; C7: energypar+; C9: maxbase; C11: avgext
20 |  | DMX³ + 0 288 05 | DMX³ + 0 288 05 | Protection Devices | 25 | MEGABREAK + M8COM | MEGABREAK + M8COM | Protection Devices | 20 |  |  |  |  | C3: vif; C4: power; C7: energypar+; C8: energypar- |  | MOINV
21 |  | DPX³ + 4 210 75 | DPX³ + 4 210 75 | Protection Devices | 26 | MEGATIKER + M7COM | MEGATIKER + M7COM | Protection Devices | 21 |  |  |  |  | C3: vif; C4: power; C5: thd; C7: energypar+; C8: energypar- |  | MOINV
22 |  | 0 590 57 | 059057 | Green'Up | 1030 | 0 590 57 | 059057 | Green'Up | 1030 |  |  |  |  | C13: greenup:2,1
23 |  | 0 590 58 | 059058 | Green'Up | 1031 | 0 590 58 | 059058 | Green'Up | 1031 |  |  |  |  | C13: greenup:2,1
24 |  | 0 590 61 | 059061 | Green'Up | 1032 | 0 590 61 | 059061 | Green'Up | 1032 |  |  |  |  | C13: greenup:1,1
25 |  | 0 590 63 | 059063 | Green'Up | 1033 | 0 590 63 | 059063 | Green'Up | 1033 |  |  |  |  | C13: greenup:1,1
26 |  | 0 590 64 | 059064 | Green'Up | 1034 | 0 590 64 | 059064 | Green'Up | 1034 |  |  |  |  | C13: greenup:1,3
27 |  | 0 590 65 | 059065 | Green'Up | 1035 | 0 590 65 | 059065 | Green'Up | 1035 |  |  |  |  | C13: greenup:1,3
28 |  | 0 590 66 | 059066 | Green'Up | 1036 | 0 590 66 | 059066 | Green'Up | 1036 |  |  |  |  | C13: greenup:2,3
29 |  | 0 590 67 | 059067 | Green'Up | 1037 | 0 590 67 | 059067 | Green'Up | 1037 |  |  |  |  | C13: greenup:2,3
30 |  | 0 590 76 | 059076 | Green'Up | 1038 | 0 590 76 | 059076 | Green'Up | 1038 |  |  |  |  | C13: greenup:1,1
31 |  | 0 590 77 | 059077 | Green'Up | 1039 | 0 590 77 | 059077 | Green'Up | 1039 |  |  |  |  | C13: greenup:2,1
32 |  | 0 590 78 | 059078 | Green'Up | 1040 | 0 590 78 | 059078 | Green'Up | 1040 |  |  |  |  | C13: greenup:2,1
33 |  | 0 590 91 | 059091 | Green'Up | 1041 | 0 590 91 | 059091 | Green'Up | 1041 |  |  |  |  | C13: greenup:1,1
34 |  | 0 590 93 | 059093 | Green'Up | 1042 | 0 590 93 | 059093 | Green'Up | 1042 |  |  |  |  | C13: greenup:1,1
35 |  | 0 590 94 | 059094 | Green'Up | 1043 | 0 590 94 | 059094 | Green'Up | 1043 |  |  |  |  | C13: greenup:1,3
36 |  | 0 590 95 | 059095 | Green'Up | 1044 | 0 590 95 | 059095 | Green'Up | 1044 |  |  |  |  | C13: greenup:1,3
37 |  | 0 590 96 | 059096 | Green'Up | 1045 | 0 590 96 | 059096 | Green'Up | 1045 |  |  |  |  | C13: greenup:2,3
38 |  | 0 590 97 | 059097 | Green'Up | 1046 | 0 590 97 | 059097 | Green'Up | 1046 |  |  |  |  | C13: greenup:2,3
39 |  | Gas Pulse Counter | Gas pulse counter | Other Devices | 79 | Gas pulse counter | Gas pulse counter | Other Devices | 55 | Gas pulse counter | Gas pulse counter | Other Devices | 93 | C7: energygas | Y
40 |  | Water Pulse Counter | Water pulse counter | Other Devices | 80 | Water pulse counter | Water pulse counter | Other Devices | 56 | Water pulse counter | Water pulse counter | Other Devices | 94 | C7: energywater | Y
41 |  | CONTREL | CONTREL | Other Devices | 82 | CONTREL | CONTREL | Other Devices | 59 |  |  |  |  | vif:1234 | power | thd |  | energypar+ | energypar- | maxbase |  | avgext
42 |  | DX³ + 4 210 75 | DX³ + 4 210 75 | Protection Devices | 27 | BTDIN + M7COM | BTDIN + M7COM | Protection Devices | 22 |  |  |  |  | C3: vif; C4: power; C5: thd; C7: energypar+; C8: energypar- |  | MOINV
43 |  | Generic Modbus meter | Generic Modbus meter | Other Devices | 77 | Generic Modbus meter | Generic Modbus meter | Other Devices | 53 | Generic Modbus meter | Generic Modbus meter | Other Devices | 91 | C7: energygeneric
44 |  | Modular - 4 120 51 | 412051 | EMDX³ Multif.Meas.Units | 1 | Modular - F4N200 | F4N200 | BTDIN Multif.Meas.Units | 1 | MFD4421 | MFD4421 | Nemo D4-Le | 19 | vif:1234 | power | thd |  | energypar+ | energypar- | maxbase | maxext | avgext | harmonic
45 |  | Access - 4 120 52 | 412052 | EMDX³ Multif.Meas.Units | 2 | Standard - F4N300 | F4N300 | BTDIN Multif.Meas.Units | 2 | MF96411 + IF96001 | MF96411 + IF96001 | Nemo 96HD-Le | 38 | vif:1234 | power | thd |  | energypar+ | energypar- | maxbase | maxext | avgext | harmonic
46 |  | Premium - 4 120 53 | 412053 | EMDX³ Multif.Meas.Units | 3 | Evo - F4N400 | F4N400 | BTDIN Multif.Meas.Units | 3 | MF96021 + IF96001 | MF96021 + IF96001 | Nemo 96HD+ | 52 | vif:1234 | power | thd |  | energypar+ | energypar- | maxbase | maxext | avgext | harmonic
47
48 |  | ENTES MPR-46S | ENTES MPR-46S | ENTES | 69 | ENTES MPR-46S | ENTES MPR-46S | ENTES | 46 |  |  |  |  | vif:1234 | power | thd |  | energypar+ | energypar- | maxbase | maxext | avgext | harmonic
49 |  | ENTES MPR-47S | ENTES MPR-47S | ENTES | 71 | ENTES MPR-47S | ENTES MPR-47S | ENTES | 48 |  |  |  |  | vif:1234 | power | thd |  | energypar+ | energypar- | maxbase | maxext | avgext | harmonic
50 |  | 0 590 31 | 059031 | Green'Up | 1012 | 0 590 31 | 059031 | Green'Up | 1012 |  |  |  |  | C13: greenup:1,1
51 |  | 0 590 32 | 059032 | Green'Up | 1013 | 0 590 32 | 059032 | Green'Up | 1013 |  |  |  |  | C13: greenup:2,1
52 |  | 0 590 33 | 059033 | Green'Up | 1014 | 0 590 33 | 059033 | Green'Up | 1014 |  |  |  |  | C13: greenup:1,1
53 |  | 0 590 34 | 059034 | Green'Up | 1015 | 0 590 34 | 059034 | Green'Up | 1015 |  |  |  |  | C13: greenup:2,1
54 |  | 0 590 37 | 059037 | Green'Up | 1017 | 0 590 37 | 059037 | Green'Up | 1017 |  |  |  |  | C13: greenup:1,1
55 |  | 0 590 38 | 059038 | Green'Up | 1018 | 0 590 38 | 059038 | Green'Up | 1018 |  |  |  |  | C13: greenup:2,1
56 |  | 0 590 39 | 059039 | Green'Up | 1019 | 0 590 39 | 059039 | Green'Up | 1019 |  |  |  |  | C13: greenup:1,1
57 |  | 0 590 40 | 059040 | Green'Up | 1020 | 0 590 40 | 059040 | Green'Up | 1020 |  |  |  |  | C13: greenup:2,1
58 |  | 0 590 45 | 059045 | Green'Up | 1025 | 0 590 45 | 059045 | Green'Up | 1025 |  |  |  |  | C13: greenup:1,3
59 |  | 0 590 46 | 059046 | Green'Up | 1026 | 0 590 46 | 059046 | Green'Up | 1026 |  |  |  |  | C13: greenup:1,3
60 |  | 0 590 47 | 059047 | Green'Up | 1027 | 0 590 47 | 059047 | Green'Up | 1027 |  |  |  |  | C13: greenup:2,3
61 |  | Energy Pulse Counter | Electricity pulse counter | Other Devices | 78 | Energy Pulse Counter | Electricity pulse counter | Other Devices | 54 | Energy Pulse Counter | Electricity pulse counter | Other Devices | 92 | C7: energypar+ | Y
62 |  | EMS CX³ | EMS CX³ | EMS CX³ | 0 | BTDIN | EMS btdin | EMS | 0 | Nemo SX | Nemo SX | Nemo SX | 0 | C3: vif; C4: power; C5: thd; C7: energypar+; C8: energypar-; C12: harmonic |  | MOINV
63 |  | 4 120 68 | 412068 | EMDX³ RS485 Counters | 83 |  |  |  |  | CE11165A4 | CE11165A4 | Conto D1 | 57 | C3: vif:134; C4: power; C7: energypar+
64 |  | 4 120 69 | 412069 | EMDX³ Pulse Counters | 90 |  |  |  |  | CE1DMID12 | CE1DMID12 | Conto D1 MID | 58 | C7: energypar+ | Y
65 | 10 | [8 empty] | MF6HTU0006 | MF6HTU0006 | Nemo D4-L+ | 12
66 | 10 | [8 empty] | MF6HTU000H | MF6HTU000H | Nemo D4-L+ | 13
67 | 1 | [8 empty] | MF6HT40006 | MF6HT40006 | Nemo D4-L+ | 15
68 | 1 | [8 empty] | MF6HT4000H | MF6HT4000H | Nemo D4-L+ | 16
69 | 10 | [8 empty] | MFD4411 | MFD4411 | Nemo D4-Le | 17
70 | 10 | [8 empty] | MFD4412 | MFD4412 | Nemo D4-Le | 18
71 | 44 | [8 empty] | MFD4422 | MFD4422 | Nemo D4-Le | 20
72 | 44 | [8 empty] | KRNEMOD4LE080 | KRNEMOD4LE080 | Nemo D4-Le | 21
73 | 44 | [8 empty] | KRNEMOD4LE142 | KRNEMOD4LE142 | Nemo D4-Le | 22
74 | 44 | [8 empty] | KRNEMOD4LE190 | KRNEMOD4LE190 | Nemo D4-Le | 23
75 | 10 | [8 empty] | MF96411 | MF96411 | Nemo 96HD-Le | 36
76 | 10 | [8 empty] | MF96412 | MF96412 | Nemo 96HD-Le | 37
77 | 45 | [8 empty] | MF96412 + IF96001 | MF96412 + IF96001 | Nemo 96HD-Le | 39
78 | 45 | [8 empty] | MF96411 + IF96012 | MF96411 + IF96012 | Nemo 96HD-Le | 40
79 | 45 | [8 empty] | MF96412 + IF96012 | MF96412 + IF96012 | Nemo 96HD-Le | 41
80 | 45 | [8 empty] | MF96421 | MF96421 | Nemo 96HD-Le | 42
81 | 45 | [8 empty] | MF96422 | MF96422 | Nemo 96HD-Le | 43
82 | 45 | [8 empty] | KRNEMOHDLE080 | KRNEMOHDLE080 | Nemo 96HD-Le | 44
83 | 45 | [8 empty] | KRNEMOHDLE142 | KRNEMOHDLE142 | Nemo 96HD-Le | 45
84 | 45 | [8 empty] | KRNEMOHDLE190 | KRNEMOHDLE190 | Nemo 96HD-Le | 46
85 | 46 | [8 empty] | MF96022 + IF96001 | MF96022 + IF96001 | Nemo 96HD+ | 53
86 | 46 | [8 empty] | MF96021 + IF96012 | MF96021 + IF96012 | Nemo 96HD+ | 54
87 | 46 | [8 empty] | MF96022 + IF96012 | MF96022 + IF96012 | Nemo 96HD+ | 55
88 | 10 | [8 empty] | CE11165A2 | CE11165A2 | Conto D1 | 56
89 | 8 | [8 empty] | CE4DT12A4 | CE4DT12A4 | Conto D4-Pt | 79
90 |  | 0 261 36 | 0 261 36 | Other Devices | 97 | M7TIC/IO | M7TIC/IO | Other Devices | 60
91 |  | 0 288 12 | 0 288 12 | Other Devices | 98 | M7TICPROG | M7TICPROG | Other Devices | 61
92 |  | 4 120 45 | 412045 | EMDX³ Multif.Meas.Units | 7 |  |  |  |  | MFD4E06 | MFD4E06 | Nemo D4-e | 24 | vif:1234 | power | thd |  | energypar+ | energypar- | maxbase | maxext | avgext
93 |  | 4 120 47 | 412047 | EMDX³ Multif.Meas.Units | 8 |  |  |  |  | MF96E06 | MF96E06 | Nemo 96HD-e | 47 | vif:1234 | power | thd |  | energypar+ | energypar- | maxbase | maxext | avgext
94 |  | 4 120 74 | 412074 | EMDX³ RS485 Counters | 15 | F41DM125 | F41DM125 | BTDIN RS485 Counters | 11 | CE6DT1256 | CE6DT1256 | Conto D6-Pd | 88 | C3: vif:1234; C4: power; C7: energypar+; C9: maxbase; C11: avgext
95 | 94 | 4 120 75 | 412075 | EMDX³ RS485 Counters | 16 |  |  |  |  | CE6DMID56 | CE6DMID56 | Conto D6-Pd MID | 90
96 |  | 0 590 00 | 059000 | Green'Up | 1000 | 0 590 00 | 059000 | Green'Up | 1000 |  |  |  |  | C13: greenup:1,1
97 | 96 | 0 590 01 | 059001 | Green'Up | 1001 | 0 590 01 | 059001 | Green'Up | 1001 |  |  |  |  | C13: greenup:1,1
98 |  | 0 590 02 | 059002 | Green'Up | 1002 | 0 590 02 | 059002 | Green'Up | 1002 |  |  |  |  | C13: greenup:1,3
99 |  | 0 590 35 | 059035 | Green'Up | 1016 | 0 590 35 | 059035 | Green'Up | 1016 |  |  |  |  | C13: greenup:1,1
100 | 99 | 0 590 04 | 059004 | Green'Up | 1004 | [8 empty] | C13: greenup:1,1
101 | 99 | 0 590 10 | 059010 | Green'Up | 1005 | [8 empty] | C13: greenup:1,1
102 | 99 | 0 590 11 | 059011 | Green'Up | 1006 | [8 empty] | C13: greenup:1,1
103 | 99 | 0 590 12 | 059012 | Green'Up | 1007 | [8 empty] | C13: greenup:1,1
104 | 99 | 0 590 13 | 059013 | Green'Up | 1008 | [8 empty] | C13: greenup:1,1
105 |  | 0 590 30 | 059030 | Green'Up | 1011 | 0 590 30 | 059030 | Green'Up | 1011 |  |  |  |  | C13: greenup:1,3
106 | 105 | 0 590 15 | 059015 | Green'Up | 1010 | [8 empty] | C13: greenup:1,3
107 | 105 | 0 590 14 | 059014 | Green'Up | 1009 | [8 empty] | C13: greenup:1,1
108 | 99 | 0 590 03 | 059003 | Green'Up | 1003 | [8 empty] | C13: greenup:1,1
109 | 99 | 0 590 41 | 059041 | Green'Up | 1021 | 0 590 41 | 059041 | Green'Up | 1021 |  |  |  |  | C13: greenup:1,1
110 | 99 | 0 590 42 | 059042 | Green'Up | 1022 | 0 590 42 | 059042 | Green'Up | 1022 |  |  |  |  | C13: greenup:1,1
111 | 99 | 0 590 43 | 059043 | Green'Up | 1023 | 0 590 43 | 059043 | Green'Up | 1023 |  |  |  |  | C13: greenup:1,1
112 | 99 | 0 590 44 | 059044 | Green'Up | 1024 | 0 590 44 | 059044 | Green'Up | 1024 |  |  |  |  | C13: greenup:1,1
113 | 105 | 0 590 48 | 059048 | Green'Up | 1028 | 0 590 48 | 059048 | Green'Up | 1028 |  |  |  |  | C13: greenup:1,3
114 | 105 | 0 590 49 | 059049 | Green'Up | 1029 | 0 590 49 | 059049 | Green'Up | 1029 |  |  |  |  | C13: greenup:1,3
115 | 12 | [8 empty] | CE4DT06A23F | CE4DT06A23F | Conto D4-Pd | 68
116 | 13 | [8 empty] | CE4DT12A2 | CE4DT12A2 | Conto D4-Pt | 77
117 | 13 | [8 empty] | CE6DT1252 | CE6DT1252 | Conto D6-Pd | 87
118 | 13 | [8 empty] | CE6DMID52 | CE6DMID52 | Conto D6-Pd MID | 89
119 | 8 | [8 empty] | CE4DT12A6 | CE4DT12A6 | Conto D4-Pt | 80
120 | 16 | [8 empty] | CE4DMID22 | CE4DMID22 | Conto D4-Pd MID | 72
121 | 8 | [8 empty] | CE4DT14A6 | CE4DT14A6 | Conto D4-Pt | 82
122 | 46 | [8 empty] | MFQ96021 + IF96001 | MFQ96021 + IF96001 | Nemo 96EA | 29
123 | 46 | [8 empty] | MFQ96022 + IF96001 | MFQ96021 + IF96001 | Nemo 96EA | 30
124 |  | ALPTEC 3.2 | ALPTEC3.2 | ALPTEC | 2001 | ALPTEC 3.2 | ALPTEC3.2 | ALPTEC | 2001 | ALPTEC 3.2 | ALPTEC3.2 | ALPTEC | 2001 | C3: vit; C4: power:alt1; C5: thd; C9: maxbase; C10: maxext; C12: harmonic:alt1
125 |  | ALPTEC 5.2 | ALPTEC5.2 | ALPTEC | 2002 | ALPTEC 5.2 | ALPTEC5.2 | ALPTEC | 2002 | ALPTEC 5.2 | ALPTEC5.2 | ALPTEC | 2002 | C3: vit; C4: power:alt1; C5: thd; C9: maxbase; C10: maxext; C12: harmonic:alt1
126 |  | ALPTEC 8.2 | ALPTEC8.2 | ALPTEC | 2003 | ALPTEC 8.2 | ALPTEC8.2 | ALPTEC | 2003 | ALPTEC 8.2 | ALPTEC8.2 | ALPTEC | 2003 | C3: vit; C4: power:alt1; C5: thd; C9: maxbase; C10: maxext; C12: harmonic:alt1
127 |  | ALPTEC 8 | ALPTEC8 | ALPTEC | 2004 | ALPTEC 8 | ALPTEC8 | ALPTEC | 2004 | ALPTEC 8 | ALPTEC8 | ALPTEC | 2004 | C3: vit; C4: power:alt1; C5: thd; C9: maxbase; C10: maxext; C12: harmonic:alt1
128 | 10 | [8 empty] | MF72411 | MF72411 | Nemo 72-Le | 25
129 | 10 | [8 empty] | MF72412 | MF72412 | Nemo 72-Le | 26
130 | 44 | [8 empty] | MF72421 | MF72421 | Nemo 72-Le | 27
131 | 44 | [8 empty] | MF72422 | MF72422 | Nemo 72-Le | 28
132 | 46 | [8 empty] | MF96001 + IF96001 | MF96001 + IF96001 | Nemo 96HD | 48
133 | 46 | [8 empty] | MF96002 + IF96001 | MF96002 + IF96001 | Nemo 96HD | 49
134 | 46 | [8 empty] | MF96001 + IF96012 | MF96001 + IF96012 | Nemo 96HD | 50
135 | 46 | [8 empty] | MF96002 + IF96012 | MF96002 + IF96012 | Nemo 96HD | 51
136 | [9 empty] | MF6DC4200H | MF6DC4200H | Nemo D4-Dc | 1 | C3: vif:14; C4: power:1; C7: energypar+; C8: energypar-; C9: maxbase; C11: avgext
137 | 136 | [8 empty] | MF6DC42006 | MF6DC42006 | Nemo D4-Dc | 2
138 | 136 | [8 empty] | MF6DC4206H | MF6DC4206H | Nemo D4-Dc | 3
139 | 136 | [8 empty] | MF6DC42066 | MF6DC42066 | Nemo D4-Dc | 4
140 | 10 | 4 120 80 | 412080 | EMDX³ Pulse Counters | 91 |  |  |  |  | CE2DF30PCL1 | CE2DF30PCL1 | Conto D2 | 61 | [11 empty] | Y
141 |  | 4 120 81 | 412081 | EMDX³ RS485 Counters | 84 |  |  |  |  | CE2DF3DTCL1 | CE2DF3DTCL1 | Conto D2 | 62 | C3: vif:134; C4: power; C7: energypar+; C8: energypar-
142 | 10 | 4 120 82 | 412082 | EMDX³ Pulse Counters | 92 | F20DM63N | F20DM63N | BTDIN Pulse Counters | 18 | CE2DF30PMID | CE2DF30PMID | Conto D2 MID | 65 | [11 empty] | Y
143 | 141 | 4 120 83 | 412083 | EMDX³ RS485 Counters | 85 | F21DM63N | F21DM63N | BTDIN RS485 Counters | 12 | CE2DF3DTMID | CE2DF3DTMID | Conto D2 MID | 66
144 | 10 | 4 120 90 | 412090 | EMDX³ Pulse Counters | 93 |  |  |  |  | CE4DF30PCL1 | CE4DF30PCL1 | Conto D4-Pd | 70 | [11 empty] | Y
145 |  | 4 120 91 | 412091 | EMDX³ RS485 Counters | 86 |  |  |  |  | CE4DF3DTCL1 | CE4DF3DTCL1 | Conto D4-Pd | 71 | C3: vif:1234; C4: power; C7: energypar+; C8: energypar-
146 | 10 | 4 120 92 | 412092 | EMDX³ Pulse Counters | 94 | F40DM63N | F40DM63N | BTDIN Pulse Counters | 19 | CE4DF30PMID | CE4DF30PMID | Conto D4-Pd MID | 75 | [11 empty] | Y
147 | 145 | 4 120 93 | 412093 | EMDX³ RS485 Counters | 87 | F41DM63N | F41DM63N | BTDIN RS485 Counters | 13 | CE4DF3DTMID | CE4DF3DTMID | Conto D4-Pd MID | 76
148 | 10 | 4 120 40 | 412040 | EMDX³ Pulse Counters | 95 |  |  |  |  | CE4TB0PCL1 | CE4TB0PCL1 | Conto D4-Pt | 83 | [11 empty] | Y
149 | 145 | 4 120 41 | 412041 | EMDX³ RS485 Counters | 88 |  |  |  |  | CE4TBDTCL1 | CE4TBDTCL1 | Conto D4-Pt | 84
150 | 10 | 4 120 42 | 412042 | EMDX³ Pulse Counters | 96 | [19 empty] | Y
151 | 145 | 4 120 43 | 412043 | EMDX³ RS485 Counters | 89 | F41TMAN | F41TMAN | BTDIN RS485 Counters | 14 | CE4TBDTMID | CE4TBDTMID | Conto D4-Pt MID | 86
152 | [9 empty] | MKD4R63DT | MKD4R63DT | Nemo D4-EC | 5 | vif:1234 | power | thd |  | energypar+ | energypar- | maxbase | maxext | avgext
153 | 152 | [8 empty] | MKD4R125DT | MKD4R125DT | Nemo D4-EC | 6
154 | 152 | [8 empty] | MFD4ORFCDT1 | MFD4ORFCDT1 | Nemo D4-EC | 7
155 | 152 | [8 empty] | MFD41ORFCDT | MFD41ORFCDT | Nemo D4-EC | 8
156 | 152 | [8 empty] | MFD42ORFCDT | MFD42ORFCDT | Nemo D4-EC | 9
157 | 152 | [8 empty] | MK96R63DT | MK96R63DT | Nemo 96-EC | 31
158 | 152 | [8 empty] | MK96R125DT | MK96R125DT | Nemo 96-EC | 32
159 | 152 | [8 empty] | MF96ORFCDT1 | MF96ORFCDT1 | Nemo 96-EC | 33
160 | 152 | [8 empty] | MF961ORFCDT | MF961ORFCDT | Nemo 96-EC | 34
161 | 152 | [8 empty] | MF962ORFCDT | MF962ORFCDT | Nemo 96-EC | 35